## Consolidated Checklist
GRIHA Large Development V - 2015
Feasibility/Self Evaluation Checklist
The site plan must be in conformity with the development plan/master plan/UDPFI guidelines (mandatory). This should comply with the provisions of eco-sensitive zone regulations, coastal zone regulations, heritage areas (identified in the master plan or issued separately as specific guidelines), water body zones (in such zones, no construction is permitted in the water-spread and buffer belt of 30 meter minimum around the FTL), various hazard prone area regulations, and others if the site falls under any such area (mandatory with no point allocation). |  |  | Mandatory
Section | Parameter |  | Being done for the project
Carrying Capacity | Water availability to support the planned population on site |  | yes
| 9 sqm/capita green cover has been provided |  | yes
| Per capita CO2 emissions to be less than 1.18 tonnes per annum (India’s national average) |  | yes
On-site Sufficiency
Sub-sections | Requirements | Maximum On-site Sufficiency | On-site Sufficiency achieved
Energy | Plan development to be 100% self-sufficient in its annual energy requirement - minimum 25% self sufficiency (against GRIHA LD base case) is mandatory | 100 | 25
Water | Plan development to be 100% self-sufficient in its annual water requirement - minimum 25% self sufficiency (against GRIHA LD base case) is mandatory | 100 | 25
Solid Waste Management | Plan development to be treat 100% of its annual organic solid waste on site | 100 | 0
Development Quality
Sub-sections | Requirements | Maximum points | Points Achieved
Site Planning | Non-Applicability: Top soil is not fertile and cannot be made fertile through addition of organic materials | no
Storm water management
Ensure that the storm water management plan on site is developed such that the post-development peak run-off rate and quantity from 2-year 24 hour design does not exceed the pre-development peak run-off rate and quantity.
| Ensure that the storm water management plan on site is developed such that the post-development peak run-off rate and quantity from 5-year 24 hour design does not exceed the pre-development peak run-off rate and quantity. | 15 | 0
| Ensure incorporation of appropriate SUDS for managing over 90% of the storm water quantity on site | 15 | 0
Maintain existing site features
| Ensure that more than 25% of the site area under existing natural features on site like water bodies, dense, mix-species tree clusters and contours with slopes greater than 1:4 are preserved. | 10 | 0
| Ensure that more than 50% of the site are under existing natural features on site like water bodies, dense, mix-species tree clusters and contours with slopes greater than 1:4 are preserved. | 20
| Ensure that more than 75% of the site area under existing natural features on site like water bodies, dense, mix-species tree clusters and contours with slopes greater than 1:4 are preserved. | 30
|  | 30 | 0
Manage construction activities in a manner to reduce environmental damage
| During construction, preserve and protect all the natural drainage channels on site | 10 | 0
| Confine construction activities to pre-designated areas (staging) and adopt soil erosion and sedimentation control strategies (during construction) on site | 10 | 0
|  | 20 | 0
Preserve and protect landscape on site
Total number of trees on site after construction should not be less than the total number of trees that existed on site before construction
| Increase existing vegetation cover on site more than 25% by ensuring plantation of native trees and shrubs. | 10 | 0
| Reapply top soil in more than 75% of the landscape areas | 10 | 0
|  | 20 | 0
| Total - Site Planning | 100 | 0
Energy | Outdoor street and security lighting
Outdoor street lighting meets the required lux levels.
Automatic switching/ dimming controls to be provided for all outdoor lightings.
Smart Mini Grids
| Integration of various energy sources with prioritization to Renewable Energy Sources (RES) and dynamic balancing of energy supply and varying energy efficient loads of the Smart Mini-Grids | 10 | 0
| Real time remote monitoring and control of smart mini-grid with user interface which operates even in mobile devices such as tablets | 10 | 0
| Demand Side Management and automatic Control of loads used for common services (like street lights, water pumping etc.) based on pre-defined criteria | 10 | 0
|  | 30 | 0
Passive urban design for outdoor thermal comfort
| Adopt passive design strategies and demonstrate that the outdoor temperature increment is at least 10% below the GRIHA LD base case (averaged over at least 5 outdoor common areas) | 10 | 0
| Adopt passive design strategies and demonstrate that the outdoor temperature increment is over 20% below the GRIHA LD base case (averaged over at least 5 outdoor common areas) | 20
| Adopt passive design strategies and demonstrate that the outdoor temperature increment is over 30% below the GRIHA LD base case (averaged over at least 5 outdoor common areas) | 30
| Street layouts and buildings have been designed to provide minimum obstruction to local wind flow - full 10 points if measure is implemented for the entire project - especially around the built mass | 10 | 0
|  | 40 | 0
Operation and Maintenance
Metering and Submetering of energy systems as mentioned in GRIHA LD manual
| Dedicated operational staff for Operation and Maintenance of Electro-mechanical systems on site. | 10 | 0
| Operation and maintenance protocol to be established and implemented. | 10 | 0
| Periodic energy auditing (every year) to be carried out | 10 | 0
|  | 30 | 0
| Total - Energy | 100 | 0
Water and waste water management | Non-Applicability: Ground water recharge is advised | yes
Quality of water
Ensure that quality of potable as well as non-potable water complies with relevant BIS standards
Ensure that quality of captured rainwater for storage and recharge as well as recycled water for use, comply with the relevant BIS standards.
| STP/waste water treatment facility should meet the CPCB norms. | 20 | 0
| Rainwater falling on site (besides that which is being stored for reuse) is recharged through appropriate filtration measures - 20 points if the measures are implemented for the entire site | 20 | 0
| All fixtures on site - in all buildings - (WCs, urinals, showers and kitchen and lavatory faucets) should be low-flow fixtures | 15 | 0
Operation and Maintenance
The plumbing network must meet the metering and sub-metering requirement as per GRIHA LD
| Establish a remote monitoring and control system for the entire plumbing network (systems like SCADA). | 20 | 0
| Periodic water auditing (every year) to be carried out | 15 | 0
| Establish an Operation and Maintenance Protocol for the various plumbing and water treatment systems (both centralized as well as decentralized) on site. | 10 | 0
| Total - Water & Waste Management | 100 | 0
Solid Waste Management | Handling and treatment of special waste
On-site incinerators to be provided for treatment of medical / hospital waste or provision for the same to be sent to a treatment facility (If Applicable)
Provide contractual tie-up with e-waste recyclers for purchase and safe recycling of e-waste from site.
Segregation and storage of waste on site
| Provision for hygienic secondary storage facility for organic and recyclable inorganic waste collected at site. | 15 | 0
| Provide contractual tie-up with recyclers for purchase and safe recycling of inorganic recyclable wastes like metal, plastic, paper, etc., from site. | 20 | 0
|  | 35 | 0
Use of Sustainable Construction Materials
| Use at least 5% recycled waste (plastic waste) in road construction by volume of materials for at least 50% of the roads on site. | 7 | 0
| Use at least 5% recycled waste (plastic waste) in road construction by volume of materials for over 90% of the roads on site. | 15
| Use at least 5% recycled waste (plastic waste) in construction of pavements by volume of materials for at least 50% of all the pavements on site. | 10 | 0
| All cement to be used in the construction of building structures will be PPC (at least 15% mix) (or at least 15% pozzolona mix in cement used for structural concrete) | 10 | 0
|  | 35 | 0
Construction and demolition waste management
| Develop a construction waste management plan, for safe handling and segregated storage of construction waste, to be provided to the site engineers and implemented on site. | 15 | 0
| Adopt strategies to recycle and reuse construction and demolition waste on site | 15 | 0
|  | 30 | 0
| Total - Solid Waste Management | 100 | 0
Transport | Provision of footpaths and/or bicycling tracks and for safe interaction of NMT traffic with motorized traffic
All roads should have footpaths/sidewalks and cycle tracks (cycling tracks not applicable for projects in hilly terrain).
Footpaths, sidewalks and cycle tracks should be continuous, wide and universally accessible (cycling tracks not applicable for projects in hilly terrain). Supporting infrastructure and facilities like bicycle parking, landscaping, public conveniences, etc., should be provided on site.
| Supporting infrastructure and facilities like bicycle parking, landscaping, public conveniences, etc., should be provided on site. | 15 | 0
| Necessary physical safety measures like railings, non-slippery surfaces, etc., must be taken on site. | 15 | 0
|  | 30 | 0
Road network planning
| Street network planning to be done in a manner to promote safety, community living, efficiency, walking and cycling. Measures to control speed of vehicular traffic should be implemented on site. | 20 | 0
Parking for cars and two wheelers
| Total parking area allocated for cars and two wheelers should not exceed the area required by the local bye laws/local authority norms. | 10 | 0
| Dedicated parking space for physically disabled people - as per the thresholds highlighted in GRIHA LD manual | 10 | 0
|  | 20 | 0
Collective transport services
| Running collective transport services (route, stops, frequency, and capacity) for intra-site movement | 7 | 0
| Providing connectivity to the nearest city public transport nodes. | 8 | 0
|  | 15 | 0
Electric charging infrastructure for vehicles
| Electric charging infrastructure provided for at least 10% of cars and bikes parked on site | 15 | 0
| Total - Transport | 100 | 0
Socio-Economic | Facilities for construction workers
All safety norms of NBC 2005 must be implemented on site during construction.
All construction workers must have access to clean drinking water and hygienic toilets on site.
Accommodation facilities for the construction workers must be clean, hygienic, with access to clean drinking water and toilets.
Child labour should be banned on site.
Social infrastructure in development
| Design of the development should be done according to guidelines on universal accessibility, including provision of disable-friendly public toilets. | 15 | 0
| Identify smoke/tobacco free zones on site. | 10 | 0
| Create environmental awareness through imparting information like display boards, panels etc. | 15 | 0
| Provision of dedicated resting areas and toilets for service staff as per GRIHA LD threshold. | 15 | 0
|  | 55 | 0
Planning for low-income group population
| Non-Applicability: The development is a SEZ/Educational Campus | no
| EWS housing should be provided on site. | 5 | 0
| Health centres and schools – reserved for lower income group - should be provided in the development as per Urban Development Plans Formulation and Implementation (UDPFI) guidelines. | 10 | 0
| Planning to also consider adequate provision for informal market. | 10 | 0
|  | 25 | 0
Food production on site
| Plan food production for more than 5% of the total landscape area or equivalent (vertical farming etc.) | 10 | 0
| Plan food production for more than 10% of the total landscape area or equivalent (vertical farming etc.) | 20
|  | 20 | 0
| Total - Social | 100 | 0
Overall Score
Sub-Sections | Sub-section Score | Weights | Weighted Score
On-site Sufficiency
Energy | 25 | 0.18 | 4.5
Water | 25 | 0.23 | 5.75
Solid Waste Management | 0 | 0.12 | 0
Development Quality
Site Planning | 0 | 0.08 | 0
Energy | 0 | 0.09 | 0
Water and waste water management | 0 | 0.12 | 0
Solid Waste Management | 0 | 0.06 | 0
Transport | 0 | 0.06 | 0
Socio-Economic | 0 | 0.06 | 0
Overall Total |  |  | 10.25
Rating Thresholds
25 - 40 | 1 star
41 - 55 | 2 stars
56 - 70 | 3 stars
71 - 85 | 4 stars
Above 85 | 5 stars

## Sheet1
yes
no