## Sheet1
SVAGRIHA Evaluation tool
Criterion No. | Criterion Name | Maximum Points | Points attempted | Category wise point distribution | Minimum points to be attmepted in each category | Points being attempted in the category
1 | Reduce UHIE and maintain native vegetation cover on site |  |  | 6 | 3 | 0
| 50% or more of the total pvaed area will be soft/shaded/coated with finish of SRI> 0.5 | 2
| If there are existing mature trees on site | yes
| All mature trees in the perimeter zone are being protected | 1
| The total number of mature trees on site before and after construction are the same | 2
| All new trees being planted on site are native to the region | 1
No mature trees exist on site
| Trees are being planted in the ratio as prescribed | 0
| All trees being platned are native | 0
|  | 6 | 0
2 | Passive architectural design and systems |  |  | 21 | 11 | 0
| 2 passive strategies from those given in the list have been adopted in the design | 2
| Active low-energy heating/cooling system have been installed in the building | 2
|  | 4 | 0
3 | Good fenestration design for reducing direct heat gain and glare while maximising daylight penetration
| Fenestration design has been done such that overall insolation reduces by 30% over the base case | 1
| Fenestration design has been done such that overall insolation reduces by 45% over the base case | 2
| Fenestration design has been done such that overall insolation reduces by 60% over the base case | 3
| At least 25% of the living area falls under a daylit zone | MANDATORY
| More than 50% of the daylit area falls under a daylit zone | 1
| More than 70% of the daylit area falls under a daylit zone | 2
| More than 90% of the daylit area falls under a daylit zone | 3
|  | 6 | 0
4 | Efficient artificial lighting system
| Artificial lighting system has been designed such that the overall LPD levels of the project meet the ECBC thresholds | 2
|  | 2 | 0
5 | Thermal efficiency of building envelope
| The thermal efficiecny of the building envelope meets the 1st threshold as prescribed in SVAGRIHA | 1
| The thermal efficiecny of the building envelope meets the 2nd threshold as prescribed in SVAGRIHA | 2
|  | 2 | 0
6 | Use of energy efficient appliances
| All installed Air-Conditioners/Fans/Geysers/Water pumps are B.E.E. 3-star labelled | 1
| All installed Air-Conditioners/Fans/Geysers/Water pumps are B.E.E. 4-star labelled | 2
| All installed Air-Conditioners/Fans/Geysers/Water pumps are B.E.E. 5-star labelled | 3
|  | 3 | 0
7 | Use of renewable energy on site
| Non-applicability: Is the building used as an office space | no
| The rated capacity of the installed renewable energy source is equal to or more than the threshold established in SVAGRIHA | 2
| Installed capacity of solar water heaters is equal to 50% of daily hot water requirement | 1
| Installed capacity of solar water heaters is equal to 75% of daily hot water requirement | 2
|  | 4 | 0
8 | Reduction in building and landscape water demand |  |  | 11 | 6 | 0
| Building water use is being reduced by 25% over the base case | 1 | 0
| Building water use is being reduced by 33% over the base case | 2
| Building water use is being reduced by 50% over the base case | 3
| Landscape water demand is reduced by 25% over the base case | 1 | 0
| Landscape water demand is reduced by 50% over the base case | 2
|  | 5 | 0
9 | Rainwater harvesting
| The total rainwater being stored for use on site is equal to at least 75% of the total water requirement for the project over two days | 3 | 0
| Surplus rainwater is being recharged (installation of filtration system is mandatory) | 1 | 0
|  | 4 | 0
10 | Generate resource from waste
| Non-applicability: Is the building used as an office space | no
| Measures are ebing takedn on site to convert organic waste to resource | 2 | 0
|  | 2 | 0
11 | Reduce embodied energy of building |  |  | 8 | 4 | 0
| 100% of OPC in the project is replaced by PPC | 2 | 0
| The overall embodied energy of the project has been reduced by 5% compared to base case | 1 | 0
| The overall embodied energy of the project has been reduced by 10% compared to base case | 2
|  | 4 | 0
12 | Use of low-energy materials in interiors
| At least 70% of all flooring is low-energy | 1 | 0
| All interior paints are low-VOC and lead-free | 1 | 0
| At least 70% of internal partitions/panelling/false ceiling/doors & window panels & frames/in-built furniture are low-energy | 2 | 0
|  | 4 | 0
13 | Adoption of green Lifestyle |  |  | 4 | 1 | 0
| Built-up area per capita meets the SVAGRIHA threshold | 1 | 0
| Total expected distance to be travelled in one year to basic services meets the SVAGRIHA threshold | 1 | 0
| Provision of dedicated toilet/resting room for service staff | 1 | 0
| Strategies employed for creating environmental awareness | 1 | 0
Organic farming on site/kitchen garden
|  | 4 | 0
14 | Innovation
| Innovative strategies are being employed | 2 | 0 |  |  | 0
Total |  | 50 | 0 | 50 | 25 | 0
| Points | Rating
| 25-30 | 1 star
| 30-35 | 2 star
| 35-40 | 3 star
| 40-45 | 4 star
| 45-50 | 5 star